## Slide 1: Maximizing the Dynamic Range of Microwave Kinetic Inductance Detectors through Tone-Tracking Firmware
Jonathan Hoh
Doctoral Candidate of Astrophysics
Masters Student of Electrical Engineering
Adrian Sinclair
Doctoral Candidate of Astrophysics
Ryan Stephenson
Bachelors Student of Electrical Engineering/Physics

## Slide 2: Who Uses MKIDs?
BLAST-TNG:
  Measuring B-fields around molecular clouds and in galactic ISM
  Dust particles orient to B-fields
  Light passing through dust grains is polarized
  Polarization is mapped through array of MKIDs
SuperSpec
Olympo
MAKO
IRAM

## Slide 3: Next up: TIM (Terahertz Intensity Mapper)
BLAST architecture+spectrometer (240-420μm)
Surveys of CII, OI, OIII for ~100 galaxies
(0.5 <z< 1.5), on scales from (1 - 50 Mpc)
CII mapping of galaxies
Star formation rate
Structure mapping/tomography

## Slide 4: What are KIDs?
The theory of detection through kinetic inductance

## Slide 5: What is kinetic inductance?
Inductance can be seen as “electrical inertia”
Resists change in current
Can come from geometric or kinetic sources
All charged particles in motion have kinetic inductance

## Slide 6: Kinetic Inductance Detectors are Designed as Fancy Resonators
Can be modeled as an RLC circuit

## Slide 7: Resonators have characteristic frequency ∝ 1/√

## Slide 8: MKIDs are Superconductors
Superconductors are materials who have zero resistance below some Tc
In this superconducting band, electrons double up into Cooper pairs
Photons with enough energy break these Cooper pairs and banish electrons from the superconducting band

## Slide 9: Ionic Lattice of a Material

## Slide 10: Some Elementary Visuals

## Slide 11: Photons Change Inductance
Incident photons can break Cooper pairs
Broken pairs have a higher relative kinetic energy
Increasing inductance decreases resonant frequency
We probe the MKIDs and measure shifts in resonance properties to determine incident power

## Slide 12: Setting the Stage
Basics of reading out KIDs

## Slide 13: Transmission of Resonator

## Slide 14: Probe the MKID and expect little transmission

## Slide 15: A Incident Power Appears!
Transmission of our probe tone increases

## Slide 16: Multiple States of a Resonator

## Slide 17: A Resonator with Multiple Modulated States

## Slide 18: A Similar Effect in Phase Space
Frequency v. phase plot for a resonator

## Slide 19: Quick Phase Reminder

## Slide 20: A Similar Effect in Phase Space
Idealized frequency v. phase plot for a resonator

## Slide 21: The Same Incident Power
Phase angle increases

## Slide 22: Phase Response of Modulated Resonator

## Slide 23: These Relationships Allow for Detection
Phase and amplitude info are read out
Relationship between shift and incident power
We do this for 1000s of detectors at once!

## Slide 24: The Fly in the Ointment

## Slide 25: The Dynamic Range Pickle
MKIDs should have exceptional dynamic range
Readout currently limits this range
What happens when a detector drifts too far?
How can we find it again?

## Slide 26: Let’s Revisit our Transmission Plots

## Slide 27: A Incident Power Appears!
Transmission of our probe tone increases

## Slide 28: Too much incident power, amplitude info becomes noisy

## Slide 29: We have to do an entire new VNA sweep!

## Slide 30: How can we track the tones in-situ?

## Slide 31: Creating a Control System to Tone Track
In order to track a parameter, you need an invariant
For resonators, resonant phase
Use phase lock loop to track phase
Take advantage of linearity in phase v freq
Use a feedback controller to relocate freq

## Slide 32: Back to the Phase Plot

## Slide 33
Resonant Phase is Invariant!

## Slide 34: Photon shifts phase
Δφ

## Slide 35: We can directly read the phase and the slope!
Δφ
Δf

## Slide 36: Side note: Linear slope must be estimated first

## Slide 37
What we have:
What we want:

## Slide 38: This becomes a simple problem (in theory)

## Slide 39: Shift the frequency back to resonance!
Δφ
Δf

## Slide 40
“Guessing” Resonances with Phi0

## Slide 41: Diving into the Land of Bits
This algorithm is based on:
  Phase-lock-loop
  PID controller (just the P and I)

## Slide 42: Tone-Tracking Algorithm

## Slide 43: In the World of Simulink

## Slide 45: Some Simulation Results
Phase Error
Clock Cycles (4ns)

## Slide 46
Noisy Simulation Results
Phase Error
Clock Cycles (4ns)

## Slide 47
Phase Error Minimization of Noisy Data
Phase Error

## Slide 48
Time Stream of Simulated Waveform Generator
Amplitude
Amplitude

## Slide 49
Watching the Algorithm in Fourier Space

## Slide 50
How Will this Work?

## Slide 51: FPGAs are the answer
Field Programmable Gate Array
  Analogous to digital breadboard
Extremely reconfigurable logic
Huge bandwidth
Fast
Torturous to use

## Slide 52: What’s our FPGA of Choice?
Previous decade has used ROACH2 FPGA
Tone-tracking is resource INTENSIVE
We require more modern technology

## Slide 53: Xilinx UltraScale+ RFSoC (zcu111)
8x 12bit-DACs & 14bit-ADCs running at 4GSPS integrated directly on the chip
Arm processor can run Linux and Python
Up to 1GB ethernet connection

## Slide 54: Current Progress on the RFSoC Battle
ADC/DAC data converters are now working
Successful tone creation and loopback
PID/PLL feedback loop has been converted to HDL
An international RFSoC Strike Force created

## Slide 55: What’s Next
Single-channel tone tracking is close
  Bit manipulation issues
  Integration into general RFSoC architecture
Real results
Resource management for multiplexing
Vacuum testing of RFSoC
Open Sourcing of all materials

## Slide 56: Big Thanks
Chris Groppi
Phil Mauskopf
Jnaneshwar Das
Lucas Ziomek
ISTB4 Basement Lab Crew

## Slide 57: Special Thanks

## Slide 58: QUESTIONS?
Questions and concerns:
jrhoh@asu.edu